[image: image1.png]SOMERDALE

The Crossronds of Sovith ﬂm&y




105 Kennedy Boulevard

Somerdale, New Jersey 08083


GUIDELINE FOR RESIDENTIAL SAFETY INSPECTION (CCO)
(THIS IS ONLY A SAMPLE OF ITEMS THE INSPECTOR MAY CHECK FOR)
(PLEASE GO THROUGH THE LIST)
A REPRESENTATIVE MUST BE ON LOCATION 
ANY HOUSE BUILT BEFORE 1978 MUST HAVE A LEAD PAINT CERTIFICATION PROVIDED BY THE BUYER OR SELLER
(under N.J. P.L. 2021, C. 182)

   PASS   FAIL
HOUSE #’s (Arabic lettering, 3 inches mounted to front wall or porch and 30 inches above ground) 

 PASS   FAIL 
SMOKE ALARMS (1 ON EACH FLOOR AND IN EACH BEDROOM) Ten Year Sealed battery-powered single station smoke alarms shall be installed where no smoke alarms exit or when replacing similar battery-powered single station smoke alarms.  A/C powered single or multi station smoke alarms not be replaced with battery-powered smoke alarms. 
PASS   FAIL                                                                                                      
CARBON MONOXIDE DETECTOR (on each floor) 



PASS   FAIL
FIRE EXTINGUISHER (INSTALLED 5 FT. FROM GROUND, MOUNTED ON THE WALL, WITHIN 10 FT OF THE KITCHEN IN VIEW OF PUBLIC) (MOUNTED WAIST LEVEL IS ACCEPTED) MUST BE A 2A/10BC FIRE EXTINGUISHER, not to exceed 10lbs.  
















PASS   FAIL
SIDE WALKS & DRIVEWAYS (No cracks and no unevenness)



PASS   FAIL

(No skim coating or ramping aloud)
(MUST BE VISABLE – REMOVE SNOW AND ICE – NO PARKING)
PORCH OR DECK (front & rear) (Must be well maintained and sturdy) 

PASS   FAIL
WINDOWS OPERABLE & IN DECENT CONDITION 



PASS   FAIL
RAILING ON STAIRS (4 steps or more must have a firmly secured railing)

PASS   FAIL
WATER CHECK (flush, drains, hot water)





PASS   FAIL
LIGHT SWITCHES & RECEPTACLES (must have covers on them) 


PASS   FAIL
GENERAL CONDITION (no holes in walls, floors and ceiling and painted)

PASS   FAIL
SUMP PUMP MUST NOT BE TIED INTO SEWER SYSTEM

       N/A PASS   FAIL
CONDITION OF YARD & PROPERTY (grass cut and yard trimmed etc.)

PASS   FAIL
SECONDARY POWER SOURCE (solar power or generators) AS OF 2/3/25 LABELS MUST BE ON ELECTRIC PANELS AND ELECTRIC MEETERS advising secondary power source 











      N/A PASS   FAIL
SOLAR PANELS AND ELECTRIC VEHICLE CHARGES MUST HAVE BEEN PERMITED 











       N/A PASS   FAIL
VIOLATIONS (other than above)






PASS   FAIL
ANY OPEN PERMITS MUST BE CLOSED/ FINALIZED 


PASS   FAIL











djm-1-21-26
[image: image1.png]